## Slide 1: THERAC 25
BIG OOF
By Muhammad Baihaqi Aulia Asy’ari

## Slide 2: WHAT???
The Therac-25 was a medical linear accelerator used for radiation therapy in the 1980s. It was involved in a number of accidents that caused patients to receive massive overdoses of radiation, resulting in serious injuries and even death.

## Slide 3: WHAT’S WRONG???
The main cause of these accidents was a software error that occurred when the machine was switched between high and low-power modes. The software was designed to prevent the machine from operating in high-power mode unless the beam was properly aimed at the patient. However, a coding error caused the software to fail to detect the misalignment in certain situations, resulting in the machine being able to operate in high-power mode even when the beam was misaligned. This caused the patient to receive a much higher dose of radiation than intended, leading to severe health problems.

## Slide 4: HOW DID THEY FIXED IT???
The solution to this problem involved both software and hardware modifications. The software was rewritten to ensure that the machine would not operate in high-power mode unless the beam was properly aimed at the patient. Additionally, hardware modifications were made to ensure that the machine could not be operated in high-power mode unless certain safety interlocks were engaged.